Example of a Sea File

Each sea file has the same format.  Each line starts with an identifier, SIMBAD Number, I or D, with I for GPS information and D for measurements in sea mode (low gain). Following the identifier SIMBAD Number, we have, Month, Day, latitude (Degrees), longitude (degrees), time (h).  Following the identifier I, we have latitude (ms), longitude (ms), Julian day, time (s), heading (degx10), speed (cm/s), pressure (mbx10), and temperature (deg C).  Following the identifier D, we have the digitised signal in the five spectral bands of the instrument (low gain detectors), yaw (degx10), roll (degx10), and pitch (degx10). Frequency of data is 10 Hz.  (Note: There should be about 100 lines of data for a Sea File – only one page printed here!)

sim03 10 12 32.956 -117.306 20.428 198.78 47.75

I 118641891 -422300876 286 73540 19 2416 9260 23

D 1743 3477 2212 208 12 0 -36 -453

D 1747 3485 2222 213 13 1525 -20 -447

D 1773 3492 2206 216 14 1528 -19 -424

D 1766 3463 2191 217 14 1537 -23 -417

D 1749 3467 2208 216 14 1532 -18 -422

D 1763 3520 2246 225 13 1513 -16 -414

D 1799 3572 2283 227 12 1545 -21 -420

D 1892 3675 2351 229 12 1578 -26 -437

D 1976 3759 2395 259 16 1531 -17 -441

D 1932 3710 2378 291 40 1587 -43 -425

D 1913 3699 2362 280 45 1538 -30 -438

D 1920 3675 2346 272 42 1587 -40 -447

D 1948 3639 2363 288 72 1545 -28 -445

D 1929 3657 2372 327 94 1532 -22 -451

D 1917 3704 2350 337 92 1572 -43 -432

D 1933 3659 2349 304 90 1508 -28 -439

D 1957 3728 2359 296 92 1587 -51 -442

D 1957 3840 2376 296 94 1554 -44 -440

D 1952 3909 2404 306 98 1534 -44 -436

D 1995 3815 2417 312 100 1533 -44 -440

D 2032 3738 2450 317 76 1525 -40 -449

D 1936 3716 2456 323 66 1529 -46 -442

D 1861 3619 2341 306 59 1528 -44 -448

D 1836 3591 2279 257 37 1481 -33 -445

D 1841 3612 2294 232 14 1455 -28 -441

D 1853 3627 2303 231 10 1456 -33 -440

D 1841 3605 2293 230 14 1465 -29 -458

D 1814 3568 2338 226 18 1411 -28 -436

D 1802 3555 2581 233 20 1493 -44 -453

D 1791 3540 3010 321 19 1455 -34 -457

D 1790 3548 3265 444 19 1499 -49 -461

D 1814 3586 3263 595 19 1462 -41 -461

D 1836 3596 2940 724 21 1510 -56 -463

D 1850 3616 2426 534 19 1469 -48 -467

D 1869 3646 2316 272 23 1526 -67 -462

D 1888 3638 2305 246 23 1474 -56 -463

D 1877 3611 2266 228 17 1441 -47 -463

D 1853 3681 2408 215 10 1410 -43 -463

D 1869 4169 2879 343 27 1394 -47 -461

D 2133 4402 3019 584 155 1422 -48 -474

D 2243 4273 3028 648 238 1435 -54 -465

D 2025 3782 2746 680 262 1445 -50 -478

D 1809 3524 2303 592 221 1444 -50 -474

D 1781 3489 2201 311 83 1454 -53 -476

D 1794 3502 2201 212 20 1464 -57 -473

D 1814 3540 2216 213 20 1467 -57 -471

D 1832 3560 2228 214 13 1493 -61 -473

D 1836 3540 2239 216 13 1499 -59 -477

D 1820 3529 2239 212 11 1487 -57 -478

D 1820 3562 2246 218 14 1480 -51 -482

D 1847 3617 2269 226 12 1472 -48 -480

D 1851 3624 2266 223 11 1476 -48 -480

D 1842 3561 2220 213 12 1456 -37 -483

D 1834 3510 2189 206 11 1425 -32 -468

D 1797 3505 2199 204 9 1433 -30 -470

D 1759 3498 2219 199 8 1422 -25 -466

D 1767 3499 2217 195 10 1440 -27 -466

D 1826 3556 2249 207 17 1453 -30 -464

D 1878 3617 2290 221 17 1449 -27 -460

D 1885 3647 2307 223 15 1474 -30 -464

D 1865 3657 2314 221 16 1455 -24 -454

D 1855 3657 2308 219 18 1479 -23 -470

D 1865 3664 2303 218 16 1474 -23 -462

D 1872 3663 2296 222 18 1510 -34 -459

D 1857 3636 2273 214 18 1456 -22 -445

D 1848 3635 2258 198 15 1546 -44 -440

D 1839 3652 2281 202 12 1504 -24 -449

D 1835 3622 2277 204 9 1562 -40 -447

D 1847 3596 2267 208 9 1550 -35 -451

D 1849 3586 2271 214 10 1555 -42 -440

D 1849 3594 2295 220 12 1570 -44 -446

D 1830 3610 2315 225 15 1574 -48 -440

D 1806 3592 2300 225 13 1552 -35 -447

D 1800 3584 2268 221 11 1611 -51 -453

D 1800 3756 2277 211 8 1557 -41 -434

D 1891 4299 2496 215 12 1598 -49 -446

D 2233 4808 2907 276 70 1550 -39 -436

D 2578 4986 2988 355 215 1578 -46 -434

D 2638 4509 2431 273 260 1614 -55 -437

D 2158 3612 2201 215 68 1614 -53 -446

D 1760 3444 2163 218 8 1571 -44 -440

D 1707 3402 2135 250 6 1605 -49 -448

D 1696 3391 2128 205 9 1561 -37 -442

D 1729 3433 2161 199 11 1536 -29 -447

D 1788 3514 2240 216 12 1571 -35 -451

D 1867 3628 2337 246 19 1541 -27 -454

D 1909 3684 2351 254 28 1563 -37 -442

D 1907 3695 2324 223 23 1546 -31 -449

D 1884 3655 2297 211 17 1528 -24 -454

D 1851 3613 2272 202 12 1532 -29 -447

D 1847 3599 2260 201 13 1504 -20 -452

D 1853 3616 2296 215 13 1506 -18 -460

D 1882 3673 2328 221 10 1458 -7 -456

D 1920 3709 2350 225 11 1496 -16 -467

D 1928 3704 2345 235 13 1455 -15 -441

D 1922 3691 2320 229 14 1477 -15 -450

D 1904 3674 2300 224 16 1466 -13 -448

D 1886 3628 2265 224 15 1484 -20 -445

D 1866 3572 2229 223 15 1420 -6 -442

D 1816 3528 2211 220 14 1458 -15 -445